## General
Comparison of Grid Scale Solar Energy Power Plants
John C. Bean / WeCanFigureThisOut.org
(Version: November 2017)
https://www.wecanfigurethisout.org/ENERGY/Web_notes/Solar/Solar%20Grid%20Scale%20Plants%20-%20Files/Solar%20Plants.xls
ACRONYMS: | ST = Solar Thermal = CSP
CSP = Concentrated Solar Power (can be either ST or PV, but in power plants it's virtually always solar thermal)
PV = Photovoltaic, which includes:
c-Si = Single crystalline silicon
poly-Si = Polycrystalline silicon (i.e. made up of microcrystallites packed together)
a-Si = Amorphous (non-crystalline) silicon
CdTe = Cadmium Telluride
CIGS = Cadmium Indium Gallium Selenide
Thin Films = Thin film of polycrystalline or amorphous seiconductor (common semiconductors include poly-Si, a-Si, CdTe, CIGS)
REFERENCES: | 1) List of Photovoltaic Power Plants - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/List_of_photovoltaic_power_stations
| 2) List of Solar Thermal Power Plants - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/List_of_solar_thermal_power_stations
| 3) Cadmium Telluride Photovoltaics - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Cadmium_telluride_photovoltaics
| 4) Best Thin Films - Energy Informative Org | [5 empty] | https://energyinformative.org/best-thin-film-solar-panels-amorphous-cadmium-telluride-cigs/
| 5) Ouarzazate Solar Power Station - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Ouarzazate_Solar_Power_Station
| 6) Ivanpah Solar Electric Generating System - NREL | [5 empty] | https://solarpaces.nrel.gov/ivanpah-solar-electric-generating-system
| 7) Solar Energy Generating Systems (SEGS Plant) - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Solar_Energy_Generating_Systems
| 8) Mojave Solar Project - NREL | [5 empty] | https://solarpaces.nrel.gov/mojave-solar-project
| 9) Solana Generating Station - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Solana_Generating_Station
| 10) Genesis Solar Energy Project - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Genesis_Solar_Energy_Project
| 11) Solanova Solar Power Station - Power Technology Com | [5 empty] | https://www.power-technology.com/projects/solnova-solar-power-station/
| 12) Andasol Solar Power Station - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Andasol_Solar_Power_Station
| 13) Extresol Solar Power Station - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Extresol_Solar_Power_Station
| 14) Crescent Dunes Solar Energy Project - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Crescent_Dunes_Solar_Energy_Project
| 15) Ashalam Power Station - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Ashalim_Power_Station
| 16) Kathu Solar Park - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Kathu_Solar_Park
| 17) Kaxu Solar One - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/KaXu_Solar_One
| 18) Valle Solar Power Station - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Valle_Solar_Power_Station
| 19) Shams Solar Power Station - Wikipedia | [5 empty] | https://en.wikipedia.org/wiki/Shams_Solar_Power_Station
| 20) Llanga I - NREL | [5 empty] | https://solarpaces.nrel.gov/ilanga-i
1) PV PLANTS (of at least 200 MW):
| POWER PLANT | COMPLETED | PV | ST (CSP) | PLANT AREA | PLANT NAME | COUNTRY | PV TECHNOLOGY | REFERENCES
| CAPACITY |  |  |  | in km2
in MW
1 | 1547 | 2016 | X |  | 43 | Tengger Desert | China | (c-Si ?) | 1
2 | 1515 | 2019 | X |  | 40 | Bhadia Solar | India | (c-Si ?) | 1
3 | 1400 | 2019 | X |  | 53 | Pavagada | India | (c-Si ?) | 1
4 | 1177 | 2019 | X |  |  | Noor Abu Dhabi | UAE | (c-Si ?) | 1
5 | 1000 | 2017 | X |  | 24 | Kurnool Ultra Mega | India | (c-Si ?) | 1
6 | 1000 | 2016 | X |  |  | Dataong Solar Power Top | China | (c-Si ?) | 1
7 | 850 | 2015 | X |  | 23 | Longyangxia | China | (c-Si ?) | 1
8 | 828 | 2018 | X |  | 24 | Villanueva | Mexico | (c-Si ?) | 1
9 | 750 | 2018 | X |  |  | Rewa Ultra Mega | India | (c-Si ?) | 1
10 | 690 | 2012 | X |  | 20 | Charanka | India | (c-Si ?) | 1
11 | 648 | 2016 | X |  | 10.1 | Kamuthi | India | (c-Si ?) | 1
12 | 613 | 2019 | X |  |  | Mohammed bin Rashid | UAE | (c-Si ?) | 1
13 | 579 | 2015 | X |  | 13 | Solar Star | US | (c-Si ?) | 1
14 | 552 | 2016 | X |  | 16.2 | Copper Mountain | US | (c-Si ?) | 1
15 | 550 | 2015 | X |  | 16 | Desert Sunlight | US | (c-Si ?) | 1
16 | 550 | 2014 | X |  | 19 | Topaz | US | CdTe Thin Film | 1, 3
17 | 500 | 2014 | X |  | 23 | Huanghe | China | (c-Si ?) | 1
18 | 500 | 2018 | X |  |  | NP Kunta | India | (c-Si ?) | 1
19 | 500 | 2018 | X |  |  | Three Gorges Golmud | China | (c-Si ?) | 1
20 | 500 | 2018 | X |  |  | Three Gorges Delingha | China | (c-Si ?) | 1
21 | 460 | 2018 | X |  | 15.9 | Mount Signal | US | (c-Si ?) | 1
22 | 400 | 2016 | X |  | 9.3 | Mesquite | US | (c-Si ?) | 1
23 | 400 | 2018 | X |  |  | Pirapora | Brazil | (c-Si ?) | 1
24 | 400 | 2019 | X |  | 17 | Ananthapurama | India | (c-Si ?) | 1
25 | 380 | 2016 | X |  |  | Yanchi | China | (c-Si ?) | 1
26 | 350 | 2019 | X |  | 5.7 | Springbok | US | (c-Si ?) | 1
27 | 300 | 2015 | X |  | 2.5 | Cestas | France | (c-Si ?) | 1
28 | 300 | 2019 | X |  | 9.3 | Techren | US | (c-Si ?) | 1
29 | 292 | 2017 | X |  |  | Nova Olinda | Brazil | (c-Si ?) | 1
30 | 290 | 2014 | X |  | 9.7 | Aqua Caliente | US | CdTe Thin Film | 1, 3
31 | 280 | 2017 | X |  | 11.7 | California Flats | US | (c-Si ?) | 1
32 | 260 | 2018 | X |  |  | Don Jose | Mexico | (c-Si ?) | 1
33 | 254 | 2017 | X |  |  | Ituverava | Barzil | (c-Si ?) | 1
34 | 250 | 2017 | X |  |  | Mandsaur | India | (c-Si ?) | 1
35 | 250 | 2016 | X |  | 9.3 | McCoy | US | (c-Si ?) | 1
36 | 250 | 2016 | X |  | 11.7 | Silver State | US | (c-Si ?) | 1
37 | 250 | 2013 | X |  | 7.96 | California Valley | US | (c-Si ?) | 1
38 | 250 | 2016 | X |  | 6.82 | Stateline | US | (c-Si ?) | 1
39 | 250 | 2016 | X |  | 8.1 | Moapa Southern Paiute | US | (c-Si ?) | 1
40 | 246 | 2016 | X |  |  | El Romero | US | (c-Si ?) | 1
41 | 246 | 2019 | X |  |  | Nikpol | Ukraine | (c-Si ?) | 1
42 | 240 | 2019 | X |  |  | Pokrovske | Ukraine | (c-Si ?) | 1
43 | 240 | 2016 | X |  | 7.7 | Escalante | US | (c-Si ?) | 1
44 | 236 | 2019 | X |  | 6.1 | Midway | US | (c-Si ?) | 1
45 | 235 | 2016 | X |  | 8.1 | Blythe | US | (c-Si ?) | 1
46 | 235 | 2018 | X |  | 2.6 | Setouchi Kirei | Japan | (c-Si ?) | 1
47 | 235 | 2017 | X |  | 7.7 | Upton Solar 2 | US | (c-Si ?) | 1
48 | 230 | 2015 | X |  | 8.5 | Antelope Valley | US | CdTe Thin Film | 1, 4
49 | 212 | 2016 | X |  | 5.3 | Roserock | US | (c-Si ?) | 1
50 | 202 | 2018 | X |  | 5.1 | Buckthorn | US | (c-Si ?) | 1
51 | 200 | 2017 | X |  | 3 | Cixi | China | (c-Si ?) | 1
52 | 200 | 2019 | X |  | 8.1 | GA Solar 4 | US | (c-Si ?) | 1
53 | 200 | 2013 | X |  |  | Gansu Jintai | China | (c-Si ?) | 1
54 | 200 | 2016 | X |  | 8.1 | Garland | US | (c-Si ?) | 1
55 | 200 | 2013 | X |  |  | Gonghe I | China | (c-Si ?) | 1
56 | 200 | 2018 | X |  | 6.5 | Great Valley | US | (c-Si ?) | 1
57 | 200 | 2016 | X |  | 7.7 | Tranquility | US | (c-Si ?) | 1
2) CSP/ST PLANTS (of at least 100 MW):
| POWER PLANT | COMPLETED | PV | ST (CSP) | PLANT AREA | PLANT NAME | COUNTRY | PV TECHNOLOGY | ST TECHNOLOGY | HEAT | REFERENCES
| CAPACITY |  |  |  | in km2 |  |  |  |  | STORAGE
| in MW | [8 empty] | in hours
1 | 510 Thermal + 72 PV | 2013-18 | X | X | 4.5 Trough + 6.8 Trough + 5.5 Tower | Noor Quarzazate | Morocco | (c-Si ?) | Tower + Trough + Tower | 3 / 7 / 7.5 | 2, 5
2 | 392 | 2014 |  | X | 14.2 | Ivanpah | US |  | Tower |  | 2, 6
3 | 354 | 1984-90 |  | X |  | SEGS | US |  | Trough |  | 2,7
4 | 280 | 2014 |  | X | 7.14 | Mojave | US |  | Trough |  | 2, 8
5 | 280 | 2013 |  | X | 7.8 | Solana | US |  | Trough | 6 | 2, 9
6 | 250 | 2014 |  | X | 7.8 | Genesis | US |  | Trough |  | 2, 10
7 | 200 | 2012-13 |  | X |  | Solaben | Spain |  | Trough |  | 2
8 | 150 | 2010 |  | X | 3.45 | Solnova | Spain |  | Trough |  | 2, 11
9 | 150 | 2008-11 |  | X | 6 | Andasol | Spain |  | Trough | 7.5 | 2,12
10 | 150 | 2010-12 |  | X | 6 | Extresol | Spain |  | Trough | 7.5 | 2, 13
12 | 125 | 2014 |  | X |  | Dhursar | India |  | Fresnel |  | 2
13 | 121 | 2019 |  | X | 3.15 | Ashalim | Israel |  | Trough | 4.5 | 2, 15
14 | 121 | 2019 |  | X |  | Megalim | Israel |  | Tower |  | 2
11 | 110 | 2015 |  | X | 6.7 | Crescent Dunes | US |  | Tower | 10 | 2, 14
15 | 100 | 2018 |  | X | 0.8 | Kathu | S. Africa |  | Trough | 4.5 | 2, 16
16 | 100 | 2015 |  | X | 11 | KaXu Solar One | S. Africa |  | Trough | 2.5 | 2, 17
17 | 100 | 2017 |  | X |  | Xina Solar One | S. Africa |  | Trough | 5.5 | 2
18 | 100 | 2011 |  | X |  | Manchasol | Spain |  | Trough | 7.5 | 2
19 | 100 | 2011 |  | X | 1.02 | Valle | Spain |  | Trough | 7.5 | 2, 18
20 | 100 | 2011-12 |  | X |  | Helioenergy | Spain |  | Trough |  | 2
21 | 100 | 2012 |  | X |  | Aste | Spain |  | Trough | 8 | 2
22 | 100 | 2012 |  | X |  | Solacor | Spain |  | Trough |  | 2
23 | 100 | 2012 |  | X |  | Helios | Spain |  | Trough |  | 2
24 | 100 | 2013 |  | X | 2.5 | Shams | UAE |  | Trough |  | 2, 19
25 | 100 | 2013 |  | X |  | Termosol | Spain |  | Trough |  | 2
26 | 100 | 2010 |  | X |  | Palma del Rio | Spain |  | Trough |  | 2
27 | 100 | 2018 |  | X |  | Llanga 1 | S. Africa |  | Trough | 5 | 2, 20
28 | 100 | 2018 |  | X |  | Shouhang Dunhuang | China |  | Tower | 7.5 | 2
3) ALL SOLAR POWER PLANTS (of at least 200 MW) - SORTED BY CAPACITY
| POWER PLANT | COMPLETED | PV | ST (CSP) | PLANT AREA | PLANT NAME | COUNTRY | PV TECHNOLOGY | ST TECHNOLOGY | HEAT | REFERENCES
| CAPACITY |  |  |  | in km2 |  |  |  |  | STORAGE
| in MW | [8 empty] | in hours
| 1547 | 2016 | X |  | 43 | Tengger Desert | China | (c-Si ?) |  |  | 1
| 1515 | 2019 | X |  | 40 | Bhadia Solar | India | (c-Si ?) |  |  | 1
| 1400 | 2019 | X |  | 53 | Pavagada | India | (c-Si ?) |  |  | 1
| 1177 | 2019 | X |  |  | Noor Abu Dhabi | UAE | (c-Si ?) |  |  | 1
| 1000 | 2017 | X |  | 24 | Kurnool Ultra Mega | India | (c-Si ?) |  |  | 1
| 1000 | 2016 | X |  |  | Dataong Solar Power Top | China | (c-Si ?) |  |  | 1
| 850 | 2015 | X |  | 23 | Longyangxia | China | (c-Si ?) |  |  | 1
| 828 | 2018 | X |  | 24 | Villanueva | Mexico | (c-Si ?) |  |  | 1
| 750 | 2018 | X |  |  | Rewa Ultra Mega | India | (c-Si ?) |  |  | 1
| 690 | 2012 | X |  | 20 | Charanka | India | (c-Si ?) |  |  | 1
| 648 | 2016 | X |  | 10.1 | Kamuthi | India | (c-Si ?) |  |  | 1
| 613 | 2019 | X |  |  | Mohammed bin Rashid | UAE | (c-Si ?) |  |  | 1
| 579 | 2015 | X |  | 13 | Solar Star | US | (c-Si ?) |  |  | 1
| 552 | 2016 | X |  | 16.2 | Copper Mountain | US | (c-Si ?) |  |  | 1
| 550 | 2015 | X |  | 16 | Desert Sunlight | US | (c-Si ?) |  |  | 1
| 550 | 2014 | X |  | 19 | Topaz | US | CdTe Thin Film |  |  | 1, 3
| 510 Thermal + 72 PV | 2013-18 | X | X | 4.5 Trough + 6.8 Trough + 5.5 Tower | Noor Quarzazate | Morocco | (c-Si ?) | Tower + Trough + Tower | 3 / 7 / 7.5 | 2, 5
| 500 | 2014 | X |  | 23 | Huanghe | China | (c-Si ?) |  |  | 1
| 500 | 2018 | X |  |  | NP Kunta | India | (c-Si ?) |  |  | 1
| 500 | 2018 | X |  |  | Three Gorges Golmud | China | (c-Si ?) |  |  | 1
| 500 | 2018 | X |  |  | Three Gorges Delingha | China | (c-Si ?) |  |  | 1
| 460 | 2018 | X |  | 15.9 | Mount Signal | US | (c-Si ?) |  |  | 1
| 400 | 2016 | X |  | 9.3 | Mesquite | US | (c-Si ?) |  |  | 1
| 400 | 2018 | X |  |  | Pirapora | Brazil | (c-Si ?) |  |  | 1
| 400 | 2019 | X |  | 17 | Ananthapurama | India | (c-Si ?) |  |  | 1
| 392 | 2014 |  | X | 14.2 | Ivanpah | US |  | Tower |  | 2, 6
| 380 | 2016 | X |  |  | Yanchi | China | (c-Si ?) |  |  | 1
| 350 | 2019 | X |  | 5.7 | Springbok | US | (c-Si ?) |  |  | 1
| 310 | 1984-90 |  | X | 6.5 | SEGS | US |  | Trough |  | 2,7
| 300 | 2015 | X |  | 2.5 | Cestas | France | (c-Si ?) |  |  | 1
| 300 | 2019 | X |  | 9.3 | Techren | US | (c-Si ?) |  |  | 1
| 292 | 2017 | X |  |  | Nova Olinda | Brazil | (c-Si ?) |  |  | 1
| 290 | 2014 | X |  | 9.7 | Aqua Caliente | US | CdTe Thin Film |  |  | 1, 3
| 280 | 2017 | X |  | 11.7 | California Flats | US | (c-Si ?) |  |  | 1
| 280 | 2014 |  | X | 7.14 | Mojave | US |  | Trough |  | 2, 8
| 280 | 2013 |  | X | 7.8 | Solana | US |  | Trough | 6 | 2, 9
| 280 | 2014 |  | X | 7.8 | Genesis | US |  | Trough |  | 2, 10
| 260 | 2018 | X |  |  | Don Jose | Mexico | (c-Si ?) |  |  | 1
| 254 | 2017 | X |  |  | Ituverava | Barzil | (c-Si ?) |  |  | 1
| 250 | 2017 | X |  |  | Mandsaur | India | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 9.3 | McCoy | US | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 11.7 | Silver State | US | (c-Si ?) |  |  | 1
| 250 | 2013 | X |  | 7.96 | California Valley | US | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 6.82 | Stateline | US | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 8.1 | Moapa Southern Paiute | US | (c-Si ?) |  |  | 1
| 246 | 2016 | X |  |  | El Romero | US | (c-Si ?) |  |  | 1
| 246 | 2019 | X |  |  | Nikpol | Ukraine | (c-Si ?) |  |  | 1
| 240 | 2019 | X |  |  | Pokrovske | Ukraine | (c-Si ?) |  |  | 1
| 240 | 2016 | X |  | 7.7 | Escalante | US | (c-Si ?) |  |  | 1
| 236 | 2019 | X |  | 6.1 | Midway | US | (c-Si ?) |  |  | 1
| 235 | 2016 | X |  | 8.1 | Blythe | US | (c-Si ?) |  |  | 1
| 235 | 2018 | X |  | 2.6 | Setouchi Kirei | Japan | (c-Si ?) |  |  | 1
| 235 | 2017 | X |  | 7.7 | Upton Solar 2 | US | (c-Si ?) |  |  | 1
| 230 | 2015 | X |  | 8.5 | Antelope Valley | US | CdTe Thin Film |  |  | 1, 4
| 212 | 2016 | X |  | 5.3 | Roserock | US | (c-Si ?) |  |  | 1
| 202 | 2018 | X |  | 5.1 | Buckthorn | US | (c-Si ?) |  |  | 1
| 200 | 2017 | X |  | 3 | Cixi | China | (c-Si ?) |  |  | 1
| 200 | 2019 | X |  | 8.1 | GA Solar 4 | US | (c-Si ?) |  |  | 1
| 200 | 2013 | X |  |  | Gansu Jintai | China | (c-Si ?) |  |  | 1
| 200 | 2016 | X |  | 8.1 | Garland | US | (c-Si ?) |  |  | 1
| 200 | 2013 | X |  |  | Gonghe I | China | (c-Si ?) |  |  | 1
| 200 | 2018 | X |  | 6.5 | Great Valley | US | (c-Si ?) |  |  | 1
| 200 | 2016 | X |  | 7.7 | Tranquility | US | (c-Si ?) |  |  | 1
| 200 | 2012-13 |  | X |  | Solaben | Spain |  | Trough |  | 2
4) ALL SOLAR POWER PLANTS (of at least 200 MW) - SORTED BY COMPLETION DATE
| POWER PLANT | COMPLETED | PV | ST (CSP) | PLANT AREA | PLANT NAME | COUNTRY | PV TECHNOLOGY | ST TECHNOLOGY | HEAT | REFERENCES
| CAPACITY |  |  |  | in km2 |  |  |  |  | STORAGE
| in MW | [8 empty] | in hours
| 310 | 1984-90 |  | X | 6.5 | SEGS | US |  | Trough |  | 2,7
| 690 | 2012 | X |  | 20 | Charanka | India | (c-Si ?) |  |  | 1
| 200 | 2012-13 |  | X |  | Solaben | Spain |  | Trough |  | 2
| 250 | 2013 | X |  | 7.96 | California Valley | US | (c-Si ?) |  |  | 1
| 200 | 2013 | X |  |  | Gansu Jintai | China | (c-Si ?) |  |  | 1
| 200 | 2013 | X |  |  | Gonghe I | China | (c-Si ?) |  |  | 1
| 280 | 2013 |  | X | 7.8 | Solana | US |  | Trough | 6 | 2, 9
| 510 Thermal + 72 PV | 2013-18 | X | X | 4.5 Trough + 6.8 Trough + 5.5 Tower | Noor Quarzazate | Morocco | (c-Si ?) | Tower + Trough + Tower | 3 / 7 / 7.5 | 2, 5
| 550 | 2014 | X |  | 19 | Topaz | US | CdTe Thin Film |  |  | 1, 3
| 500 | 2014 | X |  | 23 | Huanghe | China | (c-Si ?) |  |  | 1
| 290 | 2014 | X |  | 9.7 | Aqua Caliente | US | CdTe Thin Film |  |  | 1, 3
| 392 | 2014 |  | X | 14.2 | Ivanpah | US |  | Tower |  | 2, 6
| 280 | 2014 |  | X | 7.14 | Mojave | US |  | Trough |  | 2, 8
| 280 | 2014 |  | X | 7.8 | Genesis | US |  | Trough |  | 2, 10
| 850 | 2015 | X |  | 23 | Longyangxia | China | (c-Si ?) |  |  | 1
| 579 | 2015 | X |  | 13 | Solar Star | US | (c-Si ?) |  |  | 1
| 550 | 2015 | X |  | 16 | Desert Sunlight | US | (c-Si ?) |  |  | 1
| 300 | 2015 | X |  | 2.5 | Cestas | France | (c-Si ?) |  |  | 1
| 230 | 2015 | X |  | 8.5 | Antelope Valley | US | CdTe Thin Film |  |  | 1, 4
| 1547 | 2016 | X |  | 43 | Tengger Desert | China | (c-Si ?) |  |  | 1
| 1000 | 2016 | X |  |  | Dataong Solar Power Top | China | (c-Si ?) |  |  | 1
| 648 | 2016 | X |  | 10.1 | Kamuthi | India | (c-Si ?) |  |  | 1
| 552 | 2016 | X |  | 16.2 | Copper Mountain | US | (c-Si ?) |  |  | 1
| 400 | 2016 | X |  | 9.3 | Mesquite | US | (c-Si ?) |  |  | 1
| 380 | 2016 | X |  |  | Yanchi | China | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 9.3 | McCoy | US | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 11.7 | Silver State | US | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 6.82 | Stateline | US | (c-Si ?) |  |  | 1
| 250 | 2016 | X |  | 8.1 | Moapa Southern Paiute | US | (c-Si ?) |  |  | 1
| 246 | 2016 | X |  |  | El Romero | US | (c-Si ?) |  |  | 1
| 240 | 2016 | X |  | 7.7 | Escalante | US | (c-Si ?) |  |  | 1
| 235 | 2016 | X |  | 8.1 | Blythe | US | (c-Si ?) |  |  | 1
| 212 | 2016 | X |  | 5.3 | Roserock | US | (c-Si ?) |  |  | 1
| 200 | 2016 | X |  | 8.1 | Garland | US | (c-Si ?) |  |  | 1
| 200 | 2016 | X |  | 7.7 | Tranquility | US | (c-Si ?) |  |  | 1
| 1000 | 2017 | X |  | 24 | Kurnool Ultra Mega | India | (c-Si ?) |  |  | 1
| 292 | 2017 | X |  |  | Nova Olinda | Brazil | (c-Si ?) |  |  | 1
| 280 | 2017 | X |  | 11.7 | California Flats | US | (c-Si ?) |  |  | 1
| 254 | 2017 | X |  |  | Ituverava | Barzil | (c-Si ?) |  |  | 1
| 250 | 2017 | X |  |  | Mandsaur | India | (c-Si ?) |  |  | 1
| 235 | 2017 | X |  | 7.7 | Upton Solar 2 | US | (c-Si ?) |  |  | 1
| 200 | 2017 | X |  | 3 | Cixi | China | (c-Si ?) |  |  | 1
| 828 | 2018 | X |  | 24 | Villanueva | Mexico | (c-Si ?) |  |  | 1
| 750 | 2018 | X |  |  | Rewa Ultra Mega | India | (c-Si ?) |  |  | 1
| 500 | 2018 | X |  |  | NP Kunta | India | (c-Si ?) |  |  | 1
| 500 | 2018 | X |  |  | Three Gorges Golmud | China | (c-Si ?) |  |  | 1
| 500 | 2018 | X |  |  | Three Gorges Delingha | China | (c-Si ?) |  |  | 1
| 460 | 2018 | X |  | 15.9 | Mount Signal | US | (c-Si ?) |  |  | 1
| 400 | 2018 | X |  |  | Pirapora | Brazil | (c-Si ?) |  |  | 1
| 260 | 2018 | X |  |  | Don Jose | Mexico | (c-Si ?) |  |  | 1
| 235 | 2018 | X |  | 2.6 | Setouchi Kirei | Japan | (c-Si ?) |  |  | 1
| 202 | 2018 | X |  | 5.1 | Buckthorn | US | (c-Si ?) |  |  | 1
| 200 | 2018 | X |  | 6.5 | Great Valley | US | (c-Si ?) |  |  | 1
| 1515 | 2019 | X |  | 40 | Bhadia Solar | India | (c-Si ?) |  |  | 1
| 1400 | 2019 | X |  | 53 | Pavagada | India | (c-Si ?) |  |  | 1
| 1177 | 2019 | X |  |  | Noor Abu Dhabi | UAE | (c-Si ?) |  |  | 1
| 613 | 2019 | X |  |  | Mohammed bin Rashid | UAE | (c-Si ?) |  |  | 1
| 400 | 2019 | X |  | 17 | Ananthapurama | India | (c-Si ?) |  |  | 1
| 350 | 2019 | X |  | 5.7 | Springbok | US | (c-Si ?) |  |  | 1
| 300 | 2019 | X |  | 9.3 | Techren | US | (c-Si ?) |  |  | 1
| 246 | 2019 | X |  |  | Nikpol | Ukraine | (c-Si ?) |  |  | 1
| 240 | 2019 | X |  |  | Pokrovske | Ukraine | (c-Si ?) |  |  | 1
| 236 | 2019 | X |  | 6.1 | Midway | US | (c-Si ?) |  |  | 1
| 200 | 2019 | X |  | 8.1 | GA Solar 4 | US | (c-Si ?) |  |  | 1

## Land Use
5) SOLAR PLANT LAND USE
| CAPACITY (MW) | PV (sq. km) | TROUGH (sq. km) | TOWER (sq. km) | NAME | COUNTRY
| 1547 | 43 |  |  | Tengger Desert | China
| 1515 | 40 |  |  | Bhadia Solar | India
| 1400 | 53 |  |  | Pavagada | India
| 1000 | 24 |  |  | Kurnool Ultra Mega | India
| 850 | 23 |  |  | Longyangxia | China
| 828 | 24 |  |  | Villanueva | Mexico
| 690 | 20 |  |  | Charanka | India
| 648 | 10.1 |  |  | Kamuthi | India
| 579 | 13 |  |  | Solar Star | US
| 552 | 16.2 |  |  | Copper Mountain | US
| 550 | 16 |  |  | Desert Sunlight | US
| 550 | 19 |  |  | Topaz | US
| 500 | 23 |  |  | Huanghe | China
| 460 | 15.9 |  |  | Mount Signal | US
| 400 | 9.3 |  |  | Mesquite | US
| 400 | 17 |  |  | Ananthapurama | India
| 392 |  |  | 14.2 | Ivanpah | US
| 360 |  | 11.3 |  | Noor Quarzazate I/II | Morocco
| 350 | 5.7 |  |  | Springbok | US
| 300 | 2.5 |  |  | Cestas | France
| 300 | 9.3 |  |  | Techren | US
| 290 | 9.7 |  |  | Aqua Caliente | US
| 280 | 11.7 |  |  | California Flats | US
| 280 |  | 7.14 |  | Mojave | US
| 280 |  | 7.8 |  | Solana | US
| 250 |  | 7.8 |  | Genesis | US
| 250 | 6.82 |  |  | Stateline | US
| 250 | 7.96 |  |  | California Valley | US
| 250 | 8.1 |  |  | Moapa Southern Paiute | US
| 250 | 9.3 |  |  | McCoy | US
| 250 | 11.7 |  |  | Silver State | US
| 240 | 7.7 |  |  | Escalante | US
| 236 | 6.1 |  |  | Midway | US
| 235 | 2.6 |  |  | Setouchi Kirei | Japan
| 235 | 7.7 |  |  | Upton Solar 2 | US
| 235 | 8.1 |  |  | Blythe | US
| 230 | 8.5 |  |  | Antelope Valley | US
| 212 | 5.3 |  |  | Roserock | US
| 202 | 5.1 |  |  | Buckthorn | US
| 200 | 3 |  |  | Cixi | China
| 200 | 6.5 |  |  | Great Valley | US
| 200 | 7.7 |  |  | Tranquility | US
| 200 | 8.1 |  |  | GA Solar 4 | US
| 200 | 8.1 |  |  | Garland | US
| 150 |  |  | 5.5 | Noor Quarzazate III | Morocco
| 150 |  | 6 |  | Andasol | Spain
| 150 |  | 6 |  | Extresol | Spain
| 150 |  | 3.45 |  | Solnova | Spain
| 121 |  | 3.15 |  | Ashalim | Israel
| 110 |  |  | 6.7 | Crescent Dunes | US
| 100 |  | 2.5 |  | Shams | UAE
| 100 |  | 0.8 |  | Kathu | S. Africa
| 100 |  | 3.1 |  | KaXu Solar One | S. Africa
| 100 |  | 1.02 |  | Valle | Spain